## Comparative
RAWALPINDI INSTITUTE OF CARDIOLOGY
Technical Evaluation Committee
Technical Comparative of Firms Participating for Annual Tender of Surgical & Disposable Items for OT, Anesthesia & Other Departments for FY 2025-26. Ref No. RIC/PO/2912/25, Dated 18-04-2025
Sr. No | Name of Item | SPECIFICATIONS & Size | Name of Firm | Manufacturer/ Brand | Registration Status | Selected/ Rejected
Polypropylene
1 | Monofilament polypropylene | 2-0 Rounded 60mm / 75mm | M/S Akram Brothers & Co. | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
|  |  | M/S Hoora Pharma (Pvt) Ltd. | Prolene, Johnson & Johnson Ethicon USA | MDIR-0001436
2 | Monofilament polypropylene | 2-0 Striaght 40mm | M/S Akram Brothers & Co. | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
|  |  | M/S Hoora Pharma (Pvt) Ltd. | Prolene, Johnson & Johnson Ethicon USA | MDIR-0001436
3 | Monofilament polypropylene | 4-0 1/2 circle Round Body Double needle 16mm/17mm | M/S Akram Brothers & Co. | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
|  |  | M/S Anwar & Sons | Polypropylene, SMI Belgium | MDIR-0002870
|  |  | M/S Cardiac Care | Corolene, Peter France | MDIR-0003164
|  |  | M/S Hoora Pharma (Pvt) Ltd. | Prolene, Johnson & Johnson Ethicon USA | MDIR-0001436
4 | Monofilament polypropylene | 4-0 Round Body Double needle 1/2 taper 20mm | M/S Akram Brothers & Co. | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
|  |  | M/S Anwar & Sons | Polypropylene, SMI Belgium | MDIR-0002870
|  |  | M/S Hoora Pharma (Pvt) Ltd. | Prolene, Johnson & Johnson Ethicon USA | MDIR-0001436
5 | Monofilament polypropylene | 5-0 Round Body Double needle 1/2 taper 10mm / 11mm | M/S Akram Brothers & Co. | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
|  |  | M/S Hoora Pharma (Pvt) Ltd. | Prolene, Johnson & Johnson Ethicon USA | MDIR-0001436
6 | Monofilament polypropylene | 5-0 3/8 circle (curved) Round Body Double needle 13mm | M/S Akram Brothers & Co. | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
|  |  | M/S Hoora Pharma (Pvt) Ltd. | Prolene, Johnson & Johnson Ethicon USA | MDIR-0001436
7 | Monofilament polypropylene | 5-0 1/2 circle Round Body Double needle 16mm/17mm | M/S Akram Brothers & Co. | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
|  |  | M/S Anwar & Sons | Polypropylene, SMI Belgium | MDIR-0002870
|  |  | M/S Hoora Pharma (Pvt) Ltd. | Prolene, Johnson & Johnson Ethicon USA | MDIR-0001436
8 | Monofilament polypropylene | 6-0 Round Body Double needle 3/8 taper 9mm | M/S Akram Brothers & Co. | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
|  |  | M/S Hoora Pharma (Pvt) Ltd. | Prolene, Johnson & Johnson Ethicon USA | MDIR-0001436
9 | Monofilament polypropylene | 6-0 3/8 circle (curved) Round Body Double needle 10mm/11mm | M/S Akram Brothers & Co. | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
|  |  | M/S Hoora Pharma (Pvt) Ltd. | Prolene, Johnson & Johnson Ethicon USA | MDIR-0001436
10 | Monofilament polypropylene | 6-0 3/8 circle (curved) Round Body Double needle 13mm
11 | Monofilament polypropylene | 7-0 3/8 circle (curved) Round Body Double needle 8mm/9.3mm
12 | Monofilament polypropylene | 8-0 3/8 circle taper everpoint cardiovascular needle 6.5mm
13 | Tension Suture (Polydioxanone) Monofliment violet | Size 1 with 40mm, MO-2 1/2 Circle Taper Point Heavier Needle, 150cm Length Loop
POLYSTER
14 | Polyester surgical Valve suture | 2-0 Round Body Taper cut double needle ē Pladget 1/2 10 x PTFE firm 6mm x 3mm x1.5mm - 17mm
15 | Polyester surgical Valve suture | 2-0 Round Body double needle without Pladget 17mm
16 | Polyester surgical Valve suture | 2-0 taper cut Body double needle ē Pladget 1/2 circle 10 x PTFE firm 6mm x 3mm x 1.5mm 26, 44mm
17 | Polyester surgical Single suture | 2-0 Round Body Taper cut double needle 17mm
18 | Polyester surgical Single suture | 2-0 Round Body Taper cut double needle 26mm
POLYGLACTIN
19 | polyglactin Braided synthetic absorbable suture | 1No 1/2 circle round body needle 40mm
20 | polyglactin Braided synthetic absorbable suture | 2-0 1/2 Circle Round Body 30mm
21 | polyglactin Braided synthetic absorbable suture | 3-0 1/2 circle taper 26mm-31mm
22 | polyglactin Braided synthetic absorbable suture | 4-0 1/2 circle Round body needle 16mm/17mm
Braided Non absorbable Surgical Suture (SILK)
23 | Black braided silk pre-cut length (multi strands) | 1 No
24 | Black braided silk | 1-0 1/2 circle Round Body needle 32mm/40mm
25 | Black braided silk | 2-0 curved cutting needle 26mm/30mm
26 | Black braided silk | 4-0 Rounded 1/2 circle tie 16mm
OT ITEMS
27 | Bone wax | Haemostatic , 2.5grm
28 | Chest Drain bottle 3 Chamber
29 | Abdominal Sponges | Pre sterilized
30 | Cardiac sponges | Pre sterilized , 4" x 6"
31 | Chest tube | 14, 16, 18, 20, 22, 24, 26, 28, 30, 32
32 | Diathermy pencil
33 | Nylon tapes
34 | Y Connector / Connector | 1/2, 1/2, 1/2 1/4, 1/4, 1/4 3/8, 3/8, 1/2 3/8, 3/8, 1/4 3/8, 3/8,3/8 1/4, 1/4, 3/8
35 | Straight Conector | 1/4, 3/8 1/4, 1/4 3/8, 1/2 3/8, 3/8
36 | Yanker set | With Handle
37 | Level sensor holder
38 | ACT Vial / cuvette | Blood Coagulation
PERFUSION DISPOSABLES ITEMS FOR ADULT & PAEDS
ADULT DISPOSABLES
39 | Aortic cannula | Straight tip 8 Fr Straight tip 10 Fr Straight tip12 Fr Straight tip 14 Fr Straight tip 18 Fr Straight tip 20 Fr Straight tip 21 Fr Straight tip 22 Fr Straight tip 24 Fr
40 | Femoral arterial cannula | 17 Fr, 19 Fr, 21 Fr, 23 Fr
41 | Femoral venous cannula | Multi stage 17 Fr Multi stage 19 Fr Multi stage 21 Fr Multi stage 23 Fr Multi stage 25 Fr
42 | Aortic cannula | Angle tip 22 Fr Angle tip 24 Fr
43 | Ascending aortic valsalva valve conduits / Composite Aortic Valve Graft | 19 Fr, 21 Fr, 23 Fr, 25 Fr, 27 Fr, 29 Fr, 31 Fr, 33 Fr
44 | Bovine Pericardial Patch | All sizes
45 | Cardiac Sump | Adult
46 | Cardiac Sump | Paeds
47 | DPT kit single | (USB port/Telephonic Port)
48 | Contegra conduit graft / double valvor | CONTEGRA All sizes
49 | Coronary ostial cannula | Adult, Paeds (12/14) Fr
50 | Dacron Patch Sheet / PTFE Felt Sheet | All Size
51 | Hemofiltration set | Adult
52 | Hemofiltration set | Paeds
53 | Intra aortic balloon | (30cc Or 40cc) 7 Fr
54 | LV vent | 10, 13, 17
55 | PTFE sutures | (2/0 Or 3/0)
56 | Aortic Valve | Bileaflet reduced ring for small annaulus 19, 21
57 | Sternum saw blade | With code/machine All sizes
58 | Annuloplasty tricuspid ring | Flexible / Semi Flexible All sizes
59 | Annuloplasty mitral ring | Flexible / Semi Flexible All sizes
60 | Mitral ring | 3D All sizes
61 | Venous saturation connector | (1/2 x 1/2)
62 | Venous saturation connector | (3/8 x 3/8)
63 | Heart Stabilizer/Tissue Stabilizer | Octopus
64 | Absorbable hemostat Oxidised / Non-Oxidised Cellulose | 10x20cm - Large
65 | Dacron Double Valvour Tube Graft | (10, 12, 14, 16, 18, 20, 22, 24, 26, 28, 30, 32, 34)Fr
66 | Redivac drains | With bottle Vacuum drum
67 | Retrograde Cardioplegia Cannula | All Size
68 | Cardioplegia delivery System | With coil Adult and Paeds
PAEDS DISPOSABLES
69 | Aortic cannula | Paeds , Straight tip (6 – 16 FR)
70 | Aortic cannula | Paeds , Angle tip (6 – 16 FR)
71 | Venous cannula | Metal tip , right angle 10 Fr Metal tip , right angle 12 Fr Metal tip , right angle 14 Fr Metal tip , right angle 16 Fr Metal tip , right angle 18 Fr Metal tip , right angle 20 Fr Metal tip , right angle 22 Fr Metal tip , right angle 24 Fr Metal tip , right angle 28 Fr
72 | venous cannula | Single stage , wire reinforced bullet tip French 28 Fr, Single stage , wire reinforced bullet tip French 32 Fr, Single stage , wire reinforced bullet tip French34 Fr
73 | Femoral arterial cannula | 8 Fr, 10 Fr, 12 Fr, 14 Fr, 16 Fr
74 | Femoral venous cannula | 3 Stage 10 Fr 3 Stage 12 Fr 3 Stage 14 Fr 3 Stage 16 Fr
75 | Antegrade Cardioplegia Cannula / Aortic Root Vent | Adult 12, 14 Peads, 9
76 | PTFE tube graft / Tubular Vascular Graft PTFE | All Sizes4,5,6,7,8,10
77 | PTFE Cardiac Membrane | 0.1mm
78 | Epicardial lead for PPM | Single Chamber / Dual Chamber With generator Surgical
79 | LA Line
80 | Cell Saver Kit
81 | Embolactomy Catheter | All Size
ANESTHESIA & ITC DEPARTMENT
82 | CVP line Quad Lumen Adult | 8 & 8.5
83 | CVP line Triple Lumen Lumen Adult | 7 & 7.5
84 | CVP line Triple Lumen Paeds | 4.5
85 | CVP line Triple Lumen Paeds | 5, 5.5
86 | Double DPT Kit / USB Port
87 | Arterial Caththeter (Radial / Femoral) | Adult All Sizes
88 | Arterial Caththeter (Radial / Femoral) | Paeds All Sizes
89 | Bougies | Adult / Paeds
90 | Extension Tube | 500mm diametter 0.35ml Volium
91 | B I S Monitor Sensor | All Size
92 | Octopus Triple Lumen | Extension Tube with 3 Bionector
93 | L.P Needle | All Size (25, 26, 27)
ITC DISPOSABLE ITEMS
94 | CPAP mask | Adult
95 | CPAP mask | Paeds
96 | CPAP mask | Neonate
97 | CPAP Holder/Horness
98 | O2 Mask | Adult Paeds Neonate
99 | Rebreathing mask | Adult
100 | Rebreathing mask | Paeds
101 | Nasal cannula / Nasal prong | Adult / Paeds
102 | Chest binder | M, L, XL,S
103 | Duoderm patch | 10x10 15x15
104 | Dial a flow
105 | External catheter
106 | Cora pore dressing / Adhesive Non Woven Fabric Surgical Dressing Sterilized | 10*30cm Or equivalent
107 | ETT Adult Cuffed | 7, 7.5, 8
108 | ETT Paeds Cuffed | 3.5, 4, 4.5, 5, 5.5
109 | ETT Paeds Uncuffed | 2.5, 3, 4, 4.5, 5, 5.5
110 | Intubation stylet | Adult
111 | HMEF Filter | Adult
112 | HMEF Filter | Paeds
113 | IV Cannula with injection port | With wings 14G
114 | IV Cannula with injection port | With wings 16G
115 | IV Cannula with injection port | With wings 18G
116 | IV Cannula with injection port | With wings 20G
117 | IV Cannula with injection port | With wings 22G
118 | IV Cannula with injection port | With wings 24G
119 | IV Cannula with Steel Safty Shield | 18G
120 | IV Cannula with Steel Safty Shield | 20G
121 | IV Cannula with Steel Safty Shield | 22G
122 | 3 way stop cock | without extension
123 | 3 way stop cock | with extension
124 | CVP monitoring Scale | -
125 | Oropharyngeal airway | Adult 3,4,5
126 | Oropharyngeal airway | Paeds 0,1,2
127 | NG tube All Size | (04, 06, 08, 10, 12, 14, 16, 18) Ch
128 | ECG electrodes | Adult
129 | ECG electrodes | Paeds
130 | MRI Compatible Electrode
131 | Suction catheter All Size | 06, 08, 10, 12, 14, 16, 18
132 | IV Burette
133 | Disposable syringes | Fixed needle 1ml
134 | Disposable syringes | Auto Disable 5ml
135 | Disposable syringes | Leur lock (conventional) 10ml
136 | Disposable syringes | Leur lock/Conventional 20ml
137 | Disposable syringes | Leur lock/Center Nozel 50ml
138 | Disposable syringes | Nozzle Type / Feeding Syringe 60ml
139 | Disposable syringes | Preheprinized 3ml
140 | Tegaderm dressing | Small
141 | Corafix tape Or equivalent Roll | Non Woven Wound Dressing Fix Roll 10cm x 10M
142 | External defib pads | Compatible with Hosp Machine ,Adult
143 | External defib pads | Compatible with Hosp Machine ,Paeds
144 | Soda Lime | Sodium Hydroxide (NaOH), 2.0 - 3.5 % ; CO2 Absorption, ≥ 19.0%
145 | CVP line | Single lumen adult/paeds
146 | Breathing circuit | With bag ,Adult
147 | Breathing circuit | With bag ,Paeds
148 | Cotton bandage | 2 inches
149 | Yanker Suction with Handle | Tubing without hole round tip
150 | IV Injector Pressure line | 150 cm
151 | IV Injector Pressure line | 200 cm
152 | Cath mount
153 | Cord Clamp
154 | Folleys silicon catheters | 6, 10, 12, 14, 16
155 | Nebs mask | Adult
156 | T piece Nebulizer
157 | Filta Mask | Medium Concentration Oxygen Mask, with 2.1m Tube
158 | Cotton roll
159 | Sterilized Surgical gauze | 4*4
160 | Gauze Roll BPC Cloth, Specification according to gov. notification number f.6-6/2005/reg/ii (south) 100cmx30cm. (30 meter pack) | 100cmx30cm 30 meter pack
161 | Dignity sheets
162 | Surgical gloves | 6,6.5,7,7.5, 8
163 | Disposable Gown | All Size
164 | Disposable Surgical Gown reinforced | Double Ply
165 | Disposable Shoe Cover
166 | Disposable Face Mask | Size: 17.5 x 9.5cm, Colour: Blue and white Materials: polypropylene, non-woven fabric
167 | Surgical Face Mask | Tie on
168 | Examination Gloves | Small, Medium & Large
169 | Polythene Gloves | Small, Medium & Large
170 | Olive Tip Cannula
171 | Insertion Kit
172 | Long diathermy lead round tip
173 | Long diathermy lead Pin tip
174 | Skin marker with Scale
175 | Vascular tourniquet set
176 | Surgical Blade | 11, 15, 23
177 | Pladgets PTFE | Polytetrafluoroethylene (PTFE) pledgets
178 | Cardiovascular pack | All Size
179 | Liga Clips aplicator will be provided FOC by 1st lowest | Small Medium
180 | Pacing Wire
181 | Steel Wire | 3", 4", 5"
182 | disposable filter for suction regulator
183 | Echo /Ultra sound gel | 5 liter can
184 | Vessel Cannula
185 | Vessel Loop
186 | Suprapubic Catheter
187 | Spike ē Filter
188 | Safety Suction Device
189 | Perfusion Adopter | 1st Time Demand
190 | Transpore Surgical Tape | 3"
191 | High level disinfectant for OT Instruments | a)- Ortho- hathaladehyde (OPA) 0.55%, b)- Combinationof Paracetic Acid / Hydrogenperoxide - (5 liter can)
192 | Hand Disinfectant/Sanitizer | 60-90% Alcohol (Ethyl or Isopropanol) with Chlorhexidine and moisturizer - Bottle (500ml)
193 | Hydrogen Per Oxide | 450ml
194 | Skin Disinfectant | Methylated Spirit - Bottle (1 liter)
195 | Topical Antiseptic | Povidone-iodine Topical Solution (10% W/V)
196 | Topical Antiseptic Scrub | Povidone-iodine Cleansing solution
197 | Surface Disinfectant | Pentapotassium/ Benzenesulfonic Acid/ Formic Acid / Malic Acid/Sulphamic Acid/ Chlorine Based - Bottle (1 liter)
198 | Fumigation Solution | H2O2 (6%) + Silver Ions (5 Ltr Container) or Less
199 | Venturi Mask/ Valves | All sizes
DENTAL DEPARTMENT
200 | Calcium Sodium algenate Dressing | 5x5cm
201 | Glass ionomer cement restorative | Filling
202 | Glass ionomer cement Luting | Luting
203 | Temporary Dressing | Filling
204 | Cresophene | Dressing
205 | Pulperyl | Dressing
206 | Calcium Hydroxide | Powder (Intracanal Dressing)
207 | Irrigant Hypochlorite | Liquid intracanal disinfactant
208 | Alveogyl | Socket Dressing
209 | Polishing Paste | Scaling and polishing
210 | Disinfectant spray | actosept or Equivalent 1000ml
211 | Pulpotec | Cavity Liner
212 | Hand Piece oil Lubricant
213 | Gutta Percha Points | 15, 20, 25
214 | Gutta Percha Points | 30, 35, 40
215 | Paper Point | 15, 20, 25
216 | Paper Point | 30, 35, 40
217 | Napkins | Dental
218 | Suction Tip | Dental Saliva Ejector
219 | Silk Suture | 2/0 75cm reverse cutting - 3/8 Circle
220 | Silk Suture | 2/0 75cm reverse cutting - 1/4 Circle
221 | Dental Needle | 27G (0.4x42mm) - Long
222 | Dental Needle | 27G (0.4x25mm) - Short
223 | Articulating Paper
224 | Dental Sterlization Pouches | Small
225 | Dental Sterlization Pouches | Medium
226 | Dental Sterlization Pouches | Large
227 | Barrier Tape
228 | Plastic Wedges
229 | Dental Floss
DIALYSIS ITEMS
230 | Heamodialysis Complete kit | 14L/17L, 1.4 m2/1.7m2, Steam Sterilized, 50 micron, Baxter, Gambro Germany Bicarb Solution with Powder(cartridge) (A+B) 4 Ltr can Jassh Pharma Lahore Blood Line with Fluid Barrier, Taiwan/ china A.V Fistula Needle 16G/17G Taiwan/China
231 | Part A Acid Concentrate Solution | 4L
232 | Tricarb Solution | 5L
233 | Sodium Bicarbonate Part B | 720g Powder
234 | CRRT Solution | 5L
235 | CRRT Kit (Dialysis) | Compatible with Fluid RIC CRRT machine
236 | Peritoneal Dialysis Catheter | 10 Fr to 16 Fr
OXYGENATORS & VALVES
237 | Oxygenator | Adult with custom tubing pack (CE Mark, FDA US, FDA Japan) with free sale certificate from the coumtry of origin
238 | Oxygenator | Small Adult with custom tubing pack (CE Mark, FDA US, FDA Japan) with free sale certificate from the coumtry of origin
239 | Oxygenator | Paeds with custom tubing pack (CE Mark, FDA US, FDA Japan) with free sale certificate from the coumtry of origin
240 | Oxygenator | Neonates/infant with custom tubing pack (CE Mark, FDA US, FDA Japan) with free sale certificate from the coumtry of origin
241 | Mitral Valve - Mechanical Bi-Leaflet, made of pyrolite (FDA Approved) All sizes | 25, 27, 29, 31, 33
242 | Mitral Valve - Biological Porcine (FDA Approved/Tissue) All sizes | 25, 27, 29, 31, 33
243 | Aortic Valve - (Mechanical) Bi-Leaflet, made of pyrolite Carbon (FDA Approved) | 21, 23, 25
244 | Aortic Valve (Reduced ring Small rewing) - (Mechincal) Bi-Leaflet, made of pyrolite Carbon, small / reduced sweing cuff with low gradient for small annulus (FDA Approved) | 17, 19, 21
245 | Aortic Valve - (Biological) Bovine Pericardial (FDA Approved/Tissue) | 19, 21, 23, 25
246 | Aortic Valve | (Biological) Porcine /Tissue
OTHERS ITEMS
247 | Disposable Caps Female
248 | Disposable Caps Male | with Tie
249 | Fibrilating Lead
250 | PTFE Membrane | 0.1mm
251 | Diathermy Scratch Pad
252 | Transit Time Flow meter | Probe (2, 3, 4 mm)
253 | Star Fish
254 | Urchin
255 | Ecmo / Rota Flow
256 | EVH Kits
257 | Blow Mister
Dr. Qudsia Anjum Qureshi
End User (Member)
Technical Evaluation Committee
Rawalpindi
Dr. Syeda Rabia Mehmood
End User (Member)
Technical Evaluation Committee
Rawalpindi
Dr. M Sohail Chaudhari
End User (Member)
Technical Evaluation Committee
Rawalpindi
Dr. Mahim Akmal Malik
End User (Member)
Technical Evaluation Committee
Rawalpindi
Dr. Zainab Farid
End User (Member)
Technical Evaluation Committee
Rawalpindi

## 1. A-Feroz
RAWALPINDI INSTITUTE OF CARDIOLOGY
Technical Evaluation Committee
END USER SELECTION REJECTION OF ANNUAL TENDER OF SURGICAL & DISPOSABLE ITEMS FOR OT, ANESTHESIA & OTHER DEPARTMENTS FOR FY 2025-26. REF NO. RIC/PO/2912/25, Dated 18-04-2025
After going through the specifications of items demanded in the bidding documents of RIC the undersigned examined the provided items and satisfied with their registration, Authorization, certification and quality. The rejected items are not upto the specification/ quality.
The Detail of Selection/ Rejection is given as under
1. M/S A-Feroz & Co
Sr. No. | Name of item | SPECIFICATIONS | Brand/ Manufacturer | Registration Status | Selection/ Rejection | Remarks
POLYGLACTIN
19 | polyglactin Braided synthetic absorbable suture | 1No 1/2 circle round body needle 40mm | Star, Shanghai Pudong Jinhuan Medical Co. Ltd. China | MDIR-0004925
22 | polyglactin Braided synthetic absorbable suture | 4-0 1/2 circle Round body needle 16mm/17mm | Star, Shanghai Pudong Jinhuan Medical Co. Ltd. China | MDIR-0004925
ITC DISPOSABLE ITEMS
107 | ETT Adult Cuffed | 7, 7.5, 8 | Pigeon, Nanchang Kaimed Medical Apparatus China | Applied
108 | ETT Paeds Cuffed | 3.5, 4, 4.5, 5, 5.5 | Pigeon, Nanchang Kaimed Medical Apparatus China | Applied
111 | HMEF Filter | Adult | Pigeon Care, Haiyan Kangyuan Medical Instrument Co. Ltd China | Applied
136 | Disposable syringes | Leur lock/Conventional 20ml | Star, Jiangsu Kanghua Medical Equiment Co. Ltd China | MDIR-0003885
138 | Disposable syringes | Nozzle Type / Feeding Syringe 60ml | Star, Jiangsu Kanghua Medical Equiment Co. Ltd China | MDIR-0003886
166 | Disposable Face Mask | Size: 17.5 x 9.5cm, Colour: Blue and white Materials: polypropylene, non-woven fabric | Safety, Xiantao Daoqi Plastic Co. Ltd China | MDIE-0001047
Dr. Qudsia Anjum Qureshi
End User (Member)
Technical Evaluation Committee
Rawalpindi
Dr. Zainab Farid
End User (Member)
Technical Evaluation Committee
Rawalpindi

## 2. Akram Brothers
RAWALPINDI INSTITUTE OF CARDIOLOGY
Technical Evaluation Committee
END USER SELECTION REJECTION OF ANNUAL TENDER OF SURGICAL & DISPOSABLE ITEMS FOR OT, ANESTHESIA & OTHER DEPARTMENTS FOR FY 2025-26. REF NO. RIC/PO/2912/25, Dated 18-04-2025
After going through the specifications of items demanded in the bidding documents of RIC the undersigned examined the provided items and satisfied with their registration, Authorization, certification and quality. The rejected items are not upto the specification/ quality.
The Detail of Selection/ Rejection is given as under
2. M/S Akram Brothers & Co
Sr. No. | Name of item | SPECIFICATIONS | Brand/ Manufacturer | Registration Status | Selection/ Rejection | Remarks
Polypropylene
1 | Monofilament polypropylene | 2-0 Rounded 60mm / 75mm | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
2 | Monofilament polypropylene | 2-0 Striaght 40mm | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
3 | Monofilament polypropylene | 4-0 1/2 circle Round Body Double needle 16mm/17mm | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
4 | Monofilament polypropylene | 4-0 Round Body Double needle 1/2 taper 20mm | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
9 | Monofilament polypropylene | 6-0 3/8 circle (curved) Round Body Double needle 10mm/11mm | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
10 | Monofilament polypropylene | 6-0 3/8 circle (curved) Round Body Double needle 13mm | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
12 | Monofilament polypropylene | 8-0 3/8 circle taper everpoint cardiovascular needle 6.5mm | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003098
POLYSTER
14 | Polyester surgical Valve suture | 2-0 Round Body Taper cut double needle ē Pladget 1/2 10 x PTFE firm 6mm x 3mm x1.5mm - 17mm | Foosin Medical Supplies Inc. Ltd. China | MDIR-0003209
Dr. Qudsia Anjum Qureshi
End User (Member)
Technical Evaluation Committee
Rawalpindi
Dr. Zainab Farid
End User (Member)
Technical Evaluation Committee
Rawalpindi

## 3. Al-Hamd
RAWALPINDI INSTITUTE OF CARDIOLOGY
Technical Evaluation Committee
END USER SELECTION REJECTION OF ANNUAL TENDER OF SURGICAL & DISPOSABLE ITEMS FOR OT, ANESTHESIA & OTHER DEPARTMENTS FOR FY 2025-26. REF NO. RIC/PO/2912/25, Dated 18-04-2025
After going through the specifications of items demanded in the bidding documents of RIC the undersigned examined the provided items and satisfied with their registration, Authorization, certification and quality. The rejected items are not upto the specification/ quality.
The Detail of Selection/ Rejection is given as under
3. M/S Al-Hamd Enterprises
Sr. No. | Name of item | SPECIFICATIONS | Brand/ Manufacturer | Registration Status | Selection/ Rejection | Remarks
Dr. Qudsia Anjum Qureshi
End User (Member)
Technical Evaluation Committee
Rawalpindi
Dr. Zainab Farid
End User (Member)
Technical Evaluation Committee
Rawalpindi

## 4. Allied
RAWALPINDI INSTITUTE OF CARDIOLOGY
Technical Evaluation Committee
END USER SELECTION REJECTION OF ANNUAL TENDER OF SURGICAL & DISPOSABLE ITEMS FOR OT, ANESTHESIA & OTHER DEPARTMENTS FOR FY 2025-26. REF NO. RIC/PO/2912/25, Dated 18-04-2025
After going through the specifications of items demanded in the bidding documents of RIC the undersigned examined the provided items and satisfied with their registration, Authorization, certification and quality. The rejected items are not upto the specification/ quality.
The Detail of Selection/ Rejection is given as under
4. M/S Allied Surgicals
Sr. No. | Name of item | SPECIFICATIONS | Brand/ Manufacturer | Registration Status | Selection/ Rejection | Remarks
Dr. Qudsia Anjum Qureshi
End User (Member)
Technical Evaluation Committee
Rawalpindi
Dr. Zainab Farid
End User (Member)
Technical Evaluation Committee
Rawalpindi